## Sheet1
sampleName | blindedName | concentration | concentration_num | location | replicate | ppm | avg | calibration
r248 | 1 | 1000uM | 1000 | L5 |  | 212.916 | 276.641 | yes |  | 1000uM |  | uM range | predicted ppm
r248 | 2 | 1000uM | 1000 | L5 |  | 340.366 |  | yes |  | 100uM | sittl | 100 | 28.04
r248 | 3 | 100uM | 100 | L5 |  | 46.634 | 64.9545 | yes |  | 10uM | schmit | 10 | 2.804
r248 | 4 | 100uM | 100 | L5 |  | 83.275 |  | yes |  | 1uM | schmit | 100 | 28.04
r248 | 5 | 10uM | 10 | L5 |  | 2.961 | 5.703 | yes |  |  | Wu | 50 | 14.02
r248 | 6 | 10uM | 10 | L5 |  | 8.445 |  | yes |  |  | luo | 350 | 98.14
r248 | 7 | 1uM | 1 | L5 |  | 0.102 | 0.131 | yes
r248 | 8 | 1uM | 1 | L5 |  | 0.16 |  | yes |  | 1 | 0.131
r245 | 9 | 30mg |  | L5 | yes | 10.34 | 8.3465 | no |  | 10 | 5.703
r245 | 10 | 30mg |  | L5 | yes | 6.353 |  | no |  | 100 | 64.9545
r246 | 11 | 30mg |  | L5 | yes | 4.418 | 5.9895 | no | 4.7838 | 1000 | 276.641
r246 | 12 | 30mg |  | L5 | yes | 7.561 |  | no
r247 | 13 | 30mg |  | L5 | yes | 0.008 | 0.0155 | no
r247 | 14 | 30mg |  | L5 | yes | 0.023 |  | no
r257 | 1 | 20mg |  | L5 | yes | 0.6976 | 1.1619 | no
r257 | 2 | 20mg |  | L5 | yes | 5.1106 |  | no
r258 | 3 | 20mg |  | L5 | yes | 0.15146 | 11.9438 | no | 7.9875
r258 | 4 | 20mg |  | L5 | yes | 0.1764 |  | no
r259 | 5 | 20mg |  | L5 | yes | 0.4248 | 10.5594 | no
r259 | 6 | 20mg |  | L5 | yes | 0.41043 |  | no
sittl |  | preclinical literature |  |  |  | 28.04 |  | no
schmit |  | preclinical literature |  |  |  | 2.804 |  | no
schmit |  | preclinical literature |  |  |  | 28.04 |  | no
Wu |  | preclinical literature |  |  |  | 14.02 |  | no
luo |  | preclinical literature |  |  |  | 98.14 |  | no
gregg |  | clinical literature |  | patient4 |  | 0.86 |  | no
gregg |  | clinical literature |  | patient5 |  | 0.61 |  | no
gregg |  | clinical literature |  | patient7 |  | 0.99 |  | no
gregg |  | clinical literature |  | patient10 |  | 1.58 |  | no
gregg |  | clinical literature |  | patient13 |  | 1.78 |  | no
gregg |  | clinical literature |  | patient16 |  | 0.55 |  | no
gregg |  | clinical literature |  | patient19 |  | 0.74 |  | no